Gauge 110

Serial #747

Calibration Date: 2-3 June 2008

Installation Date: 7/10/08

SW Cataloochee – Hawkins Property

35˚32.886’ N, 83˚08.889’ W (~5128 ft)

Visits: 10 July 2008, Installation 2:27 pm

Raining

4 August 2008	 (~1120)

Data downloaded, date & time correct

Debris & dead bugs cleared out of gauge top

2/8 cirrus cover

22 June 2008 (~1230)

Data downloaded, date & time correct, did not clear.

Debris & dead bugs cleared out of gauge top, area cleared of vegetation

Cloudy, calm, humid

Some water in tipping bucket. Sign was torn off – possible tampering by 			people?

09 December 2009 (1130EST)

Data downloaded; not cleared, date/time OK, minor debris cleaned from 			funnel, gauge slightly re-leveled, area cleared of vegetation, clear skies 			and very windy!

** Strong southerly winds  Blowing staright up the valley toward 			gauge Direct exposure to southerly winds**

19 May 2010 (10 AM EST)

Top funnel of gauge was off, unknown by whom. Replaaced back on gauge. Put Bounce sheet on to side of gauge. Cleared vegetation around site. Cleaned gauge, downloaded data, time change.

Directions:

40W to Exit 27 (74W)

74W to Exit 103 (19 to Maggie Valley)

Follow 19 past Ghost Town. A few miles later make a right on Black Camp Gap Road. You will go over a 1 lane bridge and the road will become unpaved. At the first split in the road go right, you will pass through a black gate. Turn onto Hawkins Road. There is a gate a short way up this road. This is the Hawkins property (274-4419).  You must call him and arrange for entry if you need to drive up, he lives in Asheville.  Follow this road.  You pass a trailer and another road forking off to the right.  The gauge is slightly up a trail just past a pile of tin (old cabin site).  If wanting to drive up you should have a vehicle with enough clearance to get over some large rocks and holes in the ground, probably 4WD.