Gauge 112

Serial Number 744

Calibration Date: 3 June 2008

Installation Date: 6 August 2008 ~1020

Near Ore Knob (Mike Miller Property)

35°45.095’ N, 82°57.856’ W (~3884 ft)

Way Point 128

Visits:

6 August 2008 (Installation)

3/8 cirrus cover

30 June 2009 (~1130)

Data download (raw and accum), not cleared. Very minor releveling done. Gauge top and base cleaned out. Bounce sheet added and post treated with insecticide. There were lots of cobwebs and brown spots inside the gauge – all cleaned out.

Directions:

40W to Exit 24 (209N)

209N, stay straight to go on Max Patch Road

Continue on Max Patch Road, it will become gravel, and there will be a sign for Madison County.

Left on Juniper Road.

Gate code: “2015”

2nd Right on Beechwood. Just pas Balsam there is a hill with a little garden to the right, this is where the gauge is located.

Contact Mike Miller (property owner) before going up. He prefers email contact:

mikemiller@thecyberworks.com. Phone is 646-9817.