Gauge 109

Serial # 749

Calibration Date: 5/28/08

Installation Date: 7/10/08

Eaglenest Ridge

35˚29.733’ N, 83˚02.421’ W (~4922 ft)

Way Point 114

Visits: 10 July 2008, Installation 1:20 pm

Raining.

1 August 2008 (~1100)

Uploaded data – full record

Level, little debris in gauge cleaned out

5/8 cumulus cover

30 June 2009 (~1000)

Uploaded data (raw & accum), did not clear. Cleaned very minor debris from the gauge top. Gauge needed minor releveling. Bounce sheet taped on gauge bottom (inside cover). Post sprayed with insecticide.

8 November 2009 (~0930)

Cleaned minor debris from gauge top. Releveling necessary. Had to retighten connecter from the post side. Bounce sheet in place. Downloaded data, full record. Changed time (was about 5 minutes off summer time.)

22 May 2010

Cleaned debris from gauge top. Releveled. Cleaned out gauge base. No sign. Date/time correct. Light right at time of downloade. Full data record. Some rain in tipping bucket.

Directions:

Take 40W to Exit 27 (74W)

Take 74W to Exit 100 (Hazelwood Ave)

Off the exit, make a right on Eagles Nest Road. Follow this road up into a development that states Private Drive. Make a left on Alpine Lane. Drive up to the end of the road.  There is a path up the hill next to 170 Alpine Lane (the Kroots live here – phone 926-0400, 421-1373). Follow this path up and you will see the gauge mounted in the rocks.  This is on the Foreman’s property (phone 452-7654, 407-740-8410).  You can also go to the Foreman’s house by staying on Eaglenest Road and making a left on Eagle Ridge. (170 Eagle Ridge).