Gauge 5

Calibration Date: 6/24, 7/18, 7/23-24/07

Date Installed: August 5, 2007

Deep Gap off 97A

(Lickstone Access Road)

~4986 ft

(35.24.536’, 82.57.876’)

Site 4, Way Point 19

Notes: difficult to find. Park at Way Point 15 and follow the creek as far as possible. Continue to climb to the ridge and head south or to ~4980 ft (near campsite). Look for blue ribbons -  they show the ridgeline.

Visits:

December 19, 2007

12:15 pm EST

Data downloaded & logger time changed to local (EST) time

One stake loose and dents found on gauge case

Replaced AAs on old logger

April 4, 2008

1:40 pm

Gauge looked generally good – maybe tilted slightly to one side.

One bar slightly bent.

HOBO battery changed and HOBO relaunched after data download

AAs on datalogger changed

Time on datalogger 1 hr slow

Left gauge at 2:20 pm.

May 20, 2008

10:30 AM EST

Gauge completely knocked over, 1 stake pulled out.

Must have happened within past couple weeks – gauge was seen upright by our guide at the watershed.

Dents in the gauge itself

Gauge releveled and tightened back in the ground.

Data not retrieved on this visit.

July 14, 2008

10:00-10:30 AM EST

Gauge completely knocked over again, 1 stake pulled up.  Found bear hair

at one corner of base.

Data record for Hobo and datalogger go till 6/16.

Batteries changed in datalogger.

Gauge releveled.

November 26, 2008 ~1000 am

Gauge upright, minor adjustments to relevel.

Both loggers had full data records – batteries changed on both.

Debris cleared from gauge top.

March 27, 2009 ~7:30 am

Gauge upright, needed minor adjustment.

Both loggers had full data record. AAs changed on old logger.

Old logger’s time was 15 min. slow, fixed.

Cleared small amount of debris from gauge top.

23 June 2009 (~0900)

Full records downloaded on both dataloggers, and the date and time were both correct. Batteries on each logger changed. Debris was cleared from the gauge top and the gauge was releveled. The sign was replaced (the clear tape disintegrated and the sign fell) with duct tape. The base of the gauge was sprayed with insecticide, and vegetation was cleared.

October 2, 2009

~8:30 am

Gauge upright, leaves in gauge. Slightly off-level. Swap new data logger with old one, change HOBO battery, re-leveled

May 7, 2010

~8:30 am (Clear sky)

Good conditions with gauge, Daniel took photos. Slight re-level, changed battery on HOBO. Changed time: OLD 7:27 am, new 8:56 am. General cleaning, added Bounce sheet.

Directions:

At the Waynesville Watershed. Must contact Kyle and Hugh (watertreatment@townofwaynesville.org and parrot_l@bellsouth.net, respectively) to be escorted up to the gauges. Kyle’s number: 456-8497.

To the watershed: 40W to Exit 27 (74W)

74W to Exit 98 (West Waynesville)

Left off the exit (Hyatt Creek Road)

Left at S Main Street/US-23-BR

Right at Allens Creek Road

Follow the road right when you see the quarry in front of you. Make a left just after the quarry, and follow that road until you reach the watershed on your left. Park there and Hugh will take you up to the gauges.

This gauge is not very far off the trail. During the winter you can see it from Hugh’s trail.