Gauge #301

Calibration Date: 24 January 2009

Installation Date: 12 June 2009, ~2:22 pm

Mt Guyot (35˚42.331’ N, 83˚15.357’ W, ~6570 ft)

Way Point 143

Visits:

12 June 2009 (Installation)

Overcast, foggy

7 November 2009 (~1245)

Clear, comfortable. Sign found nearby and replaced. Cleaned gauge/site. Uploaded data, had to make a time adjustment.

29 May 2010

Data downloaded, complete record.

Time adjusted, Bounce sheet added, overcast skies.

Directions: