Gauge 105

Serial # 748

Calibration Date: 5/23/08

Installation Date: 6/30/08, 3:24 pm

Kay Hulquist Property (on meadow ~ 4412 ft)

Way Point 96

35˚38.034’, 83˚02.430’

Visits:

30 June 2008 (Installation)

Light rain showers

31 July 2008 (~1100)

Uploaded and cleared data

Record complete, date & time correct

5/8 cumulus

24 June 2009 (~0930)

Sunny, warm, mostly clear skies. Uploaded data, did not clear. Slight releveling done. Post base treated with insecticide. Debris cleared from gauge top. Date/time correct.

8 November 2009 (~1300)

Sunny, calm. Downloaded data from gauge, full record. Date/time correct. No releveling necessary. Ladybugs and other minor debris cleared from inside gauge and gauge top. Bounce sheet added.

22 May 2010 (~11:30 am)

Partly cloudy, calm. Debris cleaned from gauge top. Dead ladybugs inside gauge, cleaned out. Date/time correct. Data downloaded, not cleared, full record. No releveling necessary.

Directions:

40W to Exit 20 (276)

Merge on 276

Turn right at Cove Creek Road

Road becomes gravel, follow it up, her driveway is right before the park entrance.  Take the top driveway. You will walk past the house, continue on trail above the house.  The trail takes you to a meadow, walk up the meadow. The gauge is on the left by several bushes.