Gauge 308

Calibration Date: 5 May 2009

Installation Date: 2 June 2009, ~11:30 am

Cosby Knob (35˚43.816’N, 83˚10.942’W, ~4826 ft)

Way Point 49

Visits:

2 June 2009 (Installation)

Clear, calm

7 November 2009 (~1740)

Level, signed, and clear of plants. Cleaned funnel and fixed time.

29 May 2010 (~5:00 pm EDT)

Gauge cleaned, data downloaded (full record). Partly cloudy, site cleared.