Gauge 302

Calibration Date: 1/30/09

Installation Date: 5/18/09

Appalachian Trail between Snake Den Ridge and Old Black

35°43.281’N, 83°14.805’W (~6104 ft.)

Way Point 21

Visits:

18 May 2009 ~2 pm local

Mostly sunny, calm wind

12 June 2009 ~3:15 pm

Site cleared and gauge cleaned

7 November 2009 (1430)

Site is beginning to grow up again, cleared and spider removed. Releveled. Sign missing, not replaced. Sunny and beautiful day. Gauge time 20 minutes slow.

29 May 2010 (~1:10 pm EDT)

Rainy – data downloaded, time adjustment, some cleaning.