Gauge 101

Calibration Date: 5/21/08

Serial Number 745

Date Installed: 30 May 2008 1645

The Swag (by picnic area-~4986 ft)

Way Point 44

35°34.501’, 83°05.292’

Visits:

30 May 2008 (Installation ~1645)

Building cumulus clouds

4 August 2008 (~0925)

Both raw and accumulated data collected.

Gauge slightly off center, appeared to have been hit. Releveled.

Bugs and debris cleared out of gauge top.

3/8 cirrus clouds.

1 April 2009 (~1153)

Raw data collected, gauge centered

Minor debris cleared from mesh – small pine cone seeds

Fog, rain had ended by ~0940 EDT this morning

22 June 2009 (~1600)

Data downloaded, not cleared, date and time correct.

Debris cleaned from gauge top, minor releveling done.

Cloudy, thunder heard. Some water in bucket.

09 December 2009 (~ 15:00 EST)

Data download; not cleared, date/time OK, minor debris cleaned from 			funnel, gauge re-leveled by twisting on post, clear skies and very windy!

19 May 2010 (~1:15 pm)

Cloudy. Gauge is level. Apparent bird remains on top of gauge. Applied Bounce sheet onto gauge. Cleaned top of gauge, downloaded data.

Directions:

40W to Exit 20 (276)

Merge on 276. (~3 miles)

Right on Grindstone Road (~1 mile)

Right on Hemphill Road (~3 mile)

Left at Swag Road. There is a gate here, you must call the desk.  Mindy has left instructions for our group at UNCA to be let in whenever we need. Her email: swaginnkeeper@earthlink.net. Phone: 828-926-0430

Park in lot. Walk up the path to your right, past the inn, and the gauge is at the picnic area.