Gauge #300

Calibration Date: 24 Jan 2009

Installation Date: 28 May 2009, ~1:30 pm

Camel Hump Knob (35˚ 43.592’ N, 83˚13.015’W, ~5110 ft)

Way Point 140

Visits:

28 May 2009, Installation

Recent thunderstorm in area, mostly cloudy

7 November 2009 (~1600)

Thorn bush hung over gauge, bear bite marks on top edge. No sign. Very dirty funnel, possibly blocked. Still level. Cleared immediate area.

May 29, 2010 (~3:15 pm EDT)

Cleaned, data downloaded, logger data issue expected – overcame. Time changed.

Directions:

Park at the Cosby Campground. Walk up the Low Gap Trail and then towards the Cosby Knob shelter. The gauge is off the trail on the left side a couple miles past the shelter.