Gauge 310

Calibration Date: 6 May 2009

Installation Date: 30 May 2009, ~1:00 pm

Mt Sterling Lookout Tower (35˚42.164’N, 83˚7.358’W, ~5761 ft)

Way Point 68

Visits:

30 May 2009 (Installation)

Clear sky

15 November 2009 (1345EST) Clear ~65F

Gauge cleaned, data downloaded, minor debris

21 May 2010 (~2:00 pm)

Incomplete record – ends 20 Nov 2009. Clean gauge, no relevel, no Bounce sheet (wet conditions)

24 May 2010 (~2:20 pm)

No further luck with data record. Cleared data logger. Cloudy skies and light rain.

28 May 2010 (~9:00 am)

Download full data using DUR/+ command, it works. Look for filenames ending in durplus.