Gauge 103

Serial Number 750

Calibration Date: 5/22/08

Installation Date: 6/17/08 (~3:45 pm)

J.L. Rich Property

35˚33.206’ N, 83˚07.074’ W

~5539 feet, Way Point 72

Visits:

17 June 2008 – Installation

Sunny, warm, breezy. Pictures taken.

4 August 2008 (~1219)

Sunny, few scattered cumulus (<1/8)

Data download, date and time correct

Debris cleaned out of gauge top.

Some growth near gauge, not directly by it – if coming back before winter may need hacksaw.

22 June 2009 (~1345)

Cloudy

Data download, not cleared, date and time correct.

Debris cleared from gauge top, VERY minor releveling, cleared 				vegetation.

09 December 2009 (~1300EST)

Data downloaded; not cleared, date/time OK, minor debris cleaned from 			funnel, gauge slightly re-leveled, area cleared of vegetation, clear skies & 			very windy!

19 May 2010 (11:19 AM EST)

Cloudy, cleaned gauge top, applied Bounce sheet to gauge, downloaded data, changed time, cleared vegetation.

Directions:

See directions to Gauge 101(The Swag).  Park in the lot and take the trail to your left.  You pass Hemphill Bald and continue along the trail.  The gauge is off the trail to the left, use the way point to help locate it.