Gauge 306

Calibration Date: 2 May 2009

Installation Date: 26 May 2009, ~1:00 pm

Sunup Knob (35˚44.758’ N, 83˚10.289’ W, ~5039 ft)

Way Point 46 (48?)

Visits:

26 May 2009 (Installation)

Cloudy overhead, building Cb in the distance

Difficult to level. Had to remove a part (held at lab).

21 November 2009 (~1500EST)

Data downloaded, full record, not cleared. No time adjustment necessary. Re-leveled—unable to get completely level but very close (bubble within inner circle). Bounce sheet added, debris cleared from gauge top.

26 May 2010 (~11:45 am – overcast)

Incomplete data record 8 Apr 2010 final date. Voltage drop hiccup? No releveling (bad install) New Bounce sheet, gauge cleaned, data record not cleared.