Gauge 3

Calibration Date: 6/15,6/17/07

(confirmed use of Tube Duke #1)

Date Installed: 6/30/07

Camp Daniel Boone, ~5280 feet

High Top (35.23.078’, 82.54.964’)

Site 1, Way Point 7

Visits:

October 16, 2007

Data recorded: 10:58

Damage to exterior rain gauge

Alignment was off, had to fix (pictures)

Replaced AAs on old logger

March 5, 2008

Site looks good – no obvious damage

Replaced AAs on old logger

Replaced batteries on HOBO

Data logs both look good

Old gauge time at download 11:49 am EST

June 11, 2008

Site is not centered – adjusted (not sturdy)

Replaced AAs on old logger

Time incorrect-adjusted to correct time

Relaunched HOBO

Downloaded data logs 15:35 EST

No problem with data.

October 25, 2008

Site looks good – some debris cleaned out of gauge top – gauge releveled (slightly off center).

Replaced AAs and HOBO battery. Full data record on both loggers.

Weather conditions: foggy and wet, turned sunny

March 21, 2009

Site looks good – no debris.

Full data record for old logger and HOBO. Changed AA batteries on old logger.

Minor readjusting needed. Weather – sunny.

October 10, 2009

~11 am

Almost full when we arrived. Put insecticide on gauge base and bounce sheet taped inside . Preplaced old logger with new, did test tips, changed time and date. Full record on HOBO, changed battery, relaunched. Again couldn’t take apart gauge top, cleared as best as we could.

May 1, 2010

~noon

The gauge was upright and mostly level, slight releveling was necessary. The weather was clear. We cleaned out gauge top – again we could not remove the funnel, but cleaned as best as possible. We replaced the Bounce sheet and added insecticide. We had a full data record on both loggers. Date and time were correct on the new logger, and we replaced the battery on the HOBO, did test tips and relaunched.

COULD NOT FIND .CSV FILE FROM NEW LOGGER (DO HAVE RAW) MAKE SURE TO DOWNLOAD BOTH WAYS NEXT TIME AND MAKE SURE YOU ARE IN THE RIGHT GAUGE DIRECTORY AND THAT YOU NAME THE FILE WITH THE GAUGE NUMBER. Did not clear the new logger so this should not be a problem.

Directions:

40W to Exit 31 (215)

215S (Stay on this road through several turns).

Left on SR 1129.

On right, just past a bridge, you will see a road with a marker in front that says “2370”. Turn up this road and you will see the gate on your left just before a barn.  Follow the road straight for as long as you can, then use the GPS to keep walking up to High Top.

Contact: Eddie Hollifield (648-6770)

We have gate key for this gauge.