Gauge 311

Calibration Date: 7 May 2009

Installation Date: 1 June 2009, ~11:00 am

AT near Big Creek (35˚45.904’N, 83˚8.425’W, ~3398 ft)

Way Point 137

Visits:

1 June 2009 (Installation)

Clear, calm

21 November 2009 (1145EST)

Downloaded data, did not clear. Full record, time adjusted ~7min. Cleaned 		debris from gauge top, lots of pine needles. No re-leveling necessary. Added Bounce sheet. Wx calm and clear. Some water in bucket, did not disturb…

26 May 2010 (~3:45 pm) *Rattlesnake!

Full data record, minor re-leveling, clean debris, add Bounce sheet, clear vegetation, watch snake.