Gauge 305

Calibration Date: 2 May 2009

Installation Date: 4 June 2009, ~11:00 am

Mt Sterling (between Campsite 38 and intersection of Swallow Fork Trail with Mt

Sterling Ridge Trail)

35˚41.490’ N, 83˚07.914’W, ~5349 ft

Way Point 54

Visits:

4 June 2009 (Installation)

5/8 cloud cover, calm.

15 November 2009 (~1245EST) Clear ~65F

Thorn vines surrounding site, cleared. Some leaves in catch (cleared)

Data downloaded

Gauge Cleaned

21 May (11:45 am) and 24 May (1:30 pm) 2010

Incomplete record (ends 25 December 2009). Clean gauge, clear plants, no re-level. 24 May – add Bounce sheet, clear data logger, cloudy skies and light rain.

28 May 2010

Download “full” data using “DUR/+” command, it works! Look for filenames “…durplus…”