Gauge 106

Serial # 752

Calibration Date: 5/27/08

Installation Date: 7/3/08

Pinnacle Ridge (Mike Ferguson’s Property: 456-6944,456-5227)

35˚25.927’ N, 83˚01.744’ W (~3969 ft)

Visits:

3 July 2008 (~1:45 pm)

Cloudy. Successful installation – pictures taken.

1 August 2008 (~1015)

LOTS of bugs in top of gauge. Cleaned out.

Full data record, correct date and time

6/8 cloud cover-cumulus

23 June 2009 (~1400)

Data downloaded (full record), not cleared. Date and time is correct. No releveling necessary. Debris was cleaned from the gauge top. The base of the gauge post was treated with insecticide. There is a hornet’s nest built between the base of the gauge and the post. We did not spray it or otherwise try to remove it this time. Weather obs – partly cloudy.

October 2, 2009

~1:45 pm

Data download. Insect debris in funnel. Cleaned wasp nest removed. Bounce fabric softner added. No re-leveling necessary.

May 7, 2010

~1:30 pm

Gauge clean, Daniel took pictures. No releveling necessary. Fabric softener added, data download, not cleared.

Directions:

40W to Exit 27 (US74W)

74W to Exit 98 (W Waynesville)

Left off the exit (go around the roundabout) on US-23 BR/Hyatt Creek Road

Left on South Main Street

Right on Allens Creek Road

Right on Big Cove Road (turn right just before the quarry and follow the road straight up. You will pass a dead end sign)

Left on Grove Park. Park by the red gate in front of the field. There is a walk through to the left of the gate.  The gauge is almost at the top of the hill.