Gauge 309

Calibration Date: 6 May 2009

Installation Date: 29 May 2009, ~1:45 pm

Mt Sterling (between intersection of Swallow Fork and Mt Sterling Ridge trails

and Big Cataloochee Mountain)

35˚40.978’ N, 83˚9.002’W, ~5262 ft

Way Point 52

Visits:

29 May 2009 (Installation)

Mostly cloudy

15 November 2009 (1130 EST)

Data downloaded, gauge re-leveled, some leaves in reservoir (cleaned). Screen in funnel has loose base piece (reinstalled anyway). Duct-taped old lavel (found nearby). Time adjusted

21 May 2010 (~12:45 pm)

Complete data logger record, clean gauge, clear plants, re-level gauge, cloudy, no Bounce sheet – wet conditions.