Gauge 108

Serial Number 755

Calibration Date: 5/28/08

Installation Date: 7/9/08

Utah Mountain

35˚33.280’ N, 82˚59.394’ W (~4188 ft)

Visits:

9 July 2008 (Installation 2:15 pm)

Rainy

1 August 2008 (~1140)

Data download and clear – complete record, correct date & time

Level, no debris in gauge

1/8 cloud cover, cumulus

22 June 2009 (~0930)

Data download – not cleared, complete record with correct date & time

Minor releveling done, cleaned out debris in gauge top.

Some ants, with eggs, seen in the gauge (not infested like G1) near the datalogger. Those were cleared out.

Mostly cloudy, light wind

09 December 2009 (~1630 EST)

Data downloaded, not cleared. Date/time okay, little debris cleared from funnel. No releveling necessary. Clear skies and very windy!

19 May 2010 (~2:30 pm EST)

Releveled gauge. Inside the gauge one of the sides was clogged, and a ladybug is attempting to make a nest. Unclogged the hold, applied Bounce sheet to gauge. Spider found on lid.

Directions:

40W to Exit 20 (276)

Merge on 276, go about 4 miles.

Left on Utah Mountain Road (sign that says Utah Mountain Estates: brown with white lettering). (1st left after you see Hemphill Road on the right).

Go 3.2 miles up this road (follow the sign for Utah Mtn Estates) and turn right on Timber Barn Trail (street sign and big black mailbox). Drive through the open green electronic gate (if this is closed, buzz the main house), and when you come to a split in the road go left.  It’s a tight curve and you may have to do 2 tries.  Follow the driveway up past a small cabin to a big stone house, follow the cobblestone driveway into the courtyard. Gauge is behind the tractor shed.  Marjie and Hal Roberts are the property owners, contact is caretaker Cherie Mascis: (cell 400-9830).