Gauge 3

Calibration Date: 6/15,6/17/07

(confirmed use of Tube Duke #1)

Date Installed: 6/30/07

Camp Daniel Boone, ~5280 feet

High Top (35.23.078’, 82.54.964’)

Site 1, Way Point 7

Visits:

October 16, 2007

Data recorded: 10:58

Damage to exterior rain gauge

Alignment was off, had to fix (pictures)

Replaced AAs on old logger

March 5, 2008

Site looks good – no obvious damage

Replaced AAs on old logger

Replaced batteries on HOBO

Data logs both look good

Old gauge time at download 11:49 am EST