## Mariott Tube
Calibration of TB3 Gauge #
Calibration Tube sjb-
Date | Time | Nozzle | Cumulative | Rain Depth | Remarks | Operator:
|  | mm/hr | Tips | per tip |  |  | Page | 1
|  |  |  | mm | Nominal Volume = 653 ml;
|  | 50 |  |  | Calibrated Volume SJB - 1: 655 ml
50
|  | 50 |  |  | Calibrated Volume SJB - 2 656.7 ml
50
50
Average
100
|  | 100 |  |  | Calibrated Volume SJB - 1: 655 ml
100
|  | 100 |  |  | Calibrated Volume SJB - 2 656.5 ml
100
Average
200
|  | 200 |  |  | Calibrated Volume SJB - 1: 654 ml
200
|  | 200 |  |  | Calibrated Volume SJB - 2 655 ml
200
Average
300
|  | 300 |  |  | 200 mm TB3: Volume(ml)*.0318 = rain depth (mm)
|  | 300 |  |  | Depth/Mariott volume = 654 ml = 20.8 mm
|  | 300 |  |  | # Mariott Tubes = 2 m rain = 96
|  |  | Pre Test | 50 lots x 2 MTs
Volume