Gauge 1

Calibration Date: 6/24,6/27/07

Date Installed: June 30, 2007

Camp Daniel Boone (~3794 feet)

Near Deep Gap (35.23’53.9, 82.54’46.9)

Visits:

October 16, 2007 12:00 pm

Replaced all 6 batteries of data logger. Changed data logger from 00:00:24 to 12:06:00.

March 5, 2008

Gauge looks to be in good condition – full data record for HOBO – old logger end 14 Feb 08 (batteries dead?) – time on old logger 13:59 EDT –

AAs changed on old logger – battery changed on HOBO