Gauge 8

Calibration Date: 8/7/07, 8/22/07

Date Installed: 8/24/07

Near Double Spring Gap (~5700 ft)

Way Point 25, Site 5

35.22.927’, 82.58.414’

Visits:

December 19, 2007

11:02 am EST

Data downloaded & old logger time changed to local time (EST).

One stake loose and dents found on gauge case.

Replaced AAs on old logger.

April 4, 2008

Gauge tilted but still upright.

HOBO inop, taken back to UNCA

Changed AAs on datalogger.

Left at 3:30 pm.

May 20, 2008

9:00 AM EST

Gauge was slightly tilted – we fixed it.

Original HOBO placed back with rain gauge, but still did not work.

Replaced HOBO with HOBO from Gauge 7, it worked.

Tested HOBO and relaunched. Replaced battery.

Old logger 1 hour behind on time.