Gauge 2

Calibration Date: 8/13/07

Date Installed: 9/7/2007

Lickstone Bald (~5680 ft)

35.25.505’, 82.58.285’

Way Point 30, Site 6

Visits:

November 13, 2007

Stakes were pulled up but gauge still seemed relatively level – sign was torn off and wood split. Restabilized gauge. Before and after pictures taken. AAs replaced on old logger.

April 4, 2008

1 stake pulled up, but gauge still fairly level. Batteries changed on both

HOBO and datalogger. Left gauge at 5:30 pm.