Gauge 10

Calibration Date: 8/28, 8/29, 8/31, 9/1/07

Date Installed: 9/22/07

Beaty Spring Knob, ~4849 ft

Way Point 34, Site 7

35.27.381’, 82.56.806’

Visits:

December 29, 2007

Data downloaded

Gauge condition looks good

Good data from both HOBO and datalogger

Swap out AA batteries from old datalogger

Changed time on old logger to local time

April 27, 2008, ~11:30 am EDT

Data downloaded, good data from both loggers

Changed batteries on both loggers

Changed time to EDT (was set to EST)

Cable connection on old logger is working

Gauge in good overall condition