Gauge 5

Calibration Date: 6/24, 7/18, 7/23-24/07

Date Installed: August 5, 2007

Deep Gap off 97A

(Lickstone Access Road)

~4986 ft

(35.24.536’, 82.57.876’)

Site 4, Way Point 19

Notes: difficult to find. Park at Way Point 15 and follow the creek as far as possible. Continue to climb to the ridge and head south or to ~4980 ft (near campsite). Look for blue ribbons -  they show the ridgeline.

Visits:

December 19, 2007

12:15 pm EST

Data downloaded & logger time changed to local (EST) time

One stake loose and dents found on gauge case

Replaced AAs on old logger

April 4, 2008

1:40 pm

Gauge looked generally good – maybe tilted slightly to one side.

One bar slightly bent.

HOBO battery changed and HOBO relaunched after data download

AAs on datalogger changed

Time on datalogger 1 hr slow

Left gauge at 2:20 pm.

May 20, 2008

10:30 AM EST

Gauge completely knocked over, 1 stake pulled out.

Must have happened within past couple weeks – gauge was seen upright by our guide at the watershed.

Dents in the gauge itself

Gauge releveled and tightened back in the ground.

Data not retrieved on this visit.