Gauge 4

Calibration Date: 6/24/07, 7/18/07

(Confirmed use of Tube Duke #1)

Date Installed: 7/26/07

Lickstone Ridge, off Haywood-Jackson Overlook (~6305 ft)

Way Point 11, Site 3

35.22.097’, 82.59.410’

Visits:

October 20, 2007

Gauge tipped over – refastened and downloaded data

Data download complete at 12:14 pm EDT

HOBO says 17:17 when EDT is 12:17 pm, off by 1 hr

December 4, 2007

1:41 pm EST

Gauge upright and apparently untouched

Data looks good, 5 rain events since last visit

Changed time to local time

Replaced AA batteries on old logger

April 7, 2008

~11:30 am EDT

Old logger time EST

Replaced HOBO and old logger batteries

Data files complete (4 Dec 07 – 6 Apr 08)

Gauge in good shape

Re-leveled gauge using bubble-level