## Sheet1
Gauge Number | Visit Period | Visit Date | Visit Time (local) | Technicians | Logger Type | Color | Current Weather | Bounce sheet | Releveled? | Insect/Animal Problems | Time/Date Problems | Debris | Data | Clearing Brush | Other | T/RH sensor | Field Calibrations | Images | Tipping Bucket
112 | Spring 2011 | 2011-04-03 | 1507 | Ashley Felts, Doug Miller, JP | M1 | grey | clear skies | new | ok |  | "changed time (a little behind)" | cleared bird droppings | download
3 | Fall 2009 | 2009-10-10 | 1100 |  | M1, HOBO | grey |  | added |  |  | "changed time and date" | couldn't take apart gauge top, cleaned | full record on HOBO |  | added new logger, insecticide, changed HOBO battery |  |  |  | almost full
8 | Fall 2010 | 2010-11-12 | 1030 | Melissa Talley, Daniel Martin | M1, HOBO | grey |  | new | yes | "piece of animal" found on one of the stakes, suspicious animal bite marks on gauge top | "changed time and date" | cleaned | download |  | HOBO battery replaced, patch uploaded
10 | Spring 2008 | 2008-04-27 | 1130 |  | HOBO, old | grey |  |  |  |  | "changed time to EDT from EST" |  | downloaded, "good" data |  | changed batteries on both loggers
10 | Winter 2007 | 2007-12-29 |  |  | HOBO, old | grey |  |  |  |  | "changed time to local time" |  | downloaded, "good" data |  | change AA batteries on old logger
5 | Fall 2010 | 2010-11-12 | 845 | Melissa Talley, Daniel Martin | M1, HOBO | grey |  | new | yes |  | "changed time" | lots of spiders removed | downloaded |  | uploaded patch, changed batteries
8 | Summer 2008 | 2008-07-14 | 930 |  | HOBO, old | grey |  |  | minor releveling |  | "changed time" | plant overgrowing gauge top | downloaded both, full record | cleared | changed AA batteries |  |  | yes
102 | Spring 2010 | 2010-05-19 | 1214 |  | M1 | grey | cloudy | added | minor |  | "changed time" | cleaned/bird droppings | downloaded
103 | Spring 2010 | 2010-05-19 | 1119 |  | M1 | grey | cloudy | added |  |  | "Changed time" | cleaned | downloaded | vegetation cleared
311 | Fall 2010 | 2010-10-17 | 1720 | Doug Miller, Ashley Felts | M1 | green |  | new |  |  | "changed time" | cleaned | downloaded full record | cleared lots | install software patch
311 | Spring 2011 | 2011-05-01 |  | Michael Goldsbury | M1 | green |  | new |  |  | "changed time" | debris cleaned | downloaded | cleared a few downed trees close by
2 | Summer 2008 | 2008-07-14 |  |  | HOBO, old | grey |  |  | minor |  | "changed to correct time" |  | HOBO data on ly 2 days, full record on old logger | extensive clearing | batteries changed on both, switched out HOBO |  |  | before
3 | Summer 2011 | 2011-07-20 |  | Wes Groetsma, Chris | M1, HOBO | grey | partly cloudy |  |  | "attacked" claw marks on gauge | "corrected" |  | downloaded |  | needs new sign |  | yes
307 | Fall 2010 | 2010-10-23 | 1330 | Wes Groetsma, Aaron Woodward | M1 | green |  | ok | not necessary |  | "fixed time" | cleaned |  | vegetation cleared
104 | Fall 2009 | 2009-11-07 | 1740 |  | M1 | green |  |  | level |  | "fixed time" | funnel was cleaned
301 | Spring 2010 | 2010-05-29 |  |  | M1 | green | overcast | added |  |  | "time adjusted" |  | downloaded full record
312 | Fall 2009 | 2009-11-07 | 1245 |  | M1 | green | clear, comfortable |  |  |  | "time adjustment" | cleaned gauge | downloaded | cleaned site | sign found nearby and replaced
302 | Spring 2010 | 2010-05-29 | 1310 |  | M1 | green | rainy |  |  |  | "time adjustment" | minor cleaning | downloaded
302 | Fall 2010 | 2010-10-16 | 1445 | Wes Groetsma, Daniel Martin | M1 | green |  |  | yes |  | "time change required" | minor cleaning | downloaded | site cleared | install software patch, adjust screen cap
110 | Spring 2010 | 2010-05-19 | 1000 |  | M1 | grey |  | added |  | funnel off - animal or person? | "time change" | cleaned | downloaded | area cleared of vegetation | top torn off
1 | Summer 2011 | 2011-07-20 |  | Wes Groetsma, Chris | M1, HOBO | grey | partly cloudy, dew around gauge |  | yes |  | "time changed" | cleaned |  | lots of growth removed, nothing covering top |  |  | yes, 5 trials, 2 successful
5 | Spring 2011 | 2011-03-25 | 830 | Michael Goldsbury, Daniel Martin | M1, HOBO | grey |  | new |  |  | "time changed" | cleaning | download, HOBO only had recorded 5 points. | [5 empty] | ice
111 | Spring 2011 | 2011-04-03 | 1300 | Ashley Felts, Doug Miller | M1, HOBO | grey | clear skies | new | ok |  | "time changed" | bird droppings, dead bugs cleared | downloaded both loggers
300 | Spring 2010 | 2010-05-29 | 1515 |  | M1 | green |  |  |  |  | "time changed" | cleaned | downloaded with DUR/+
301 | Fall 2010 | 2010-10-16 | 1300 | Wes Groetsma, Daniel Martin | M1 | green |  |  | yes |  | "time changed" | cleaned gauge | downloaded | branch hanging over gauge | installed software patch
3 | Summer 2008 | 2008-06-11 | 1530 |  | HOBO, old | grey |  |  | yes |  | "time incorrect-adjusted to correct time" |  | download looks good |  | replaced Aas
2 | Spring 2009 | 2009-03-27 | 930 |  | HOBO, old | grey | overcast |  | ok |  | 15 min slow on old logger, fixed | cleaned out minimal debris | full record on both |  | Aas replaced
5 | Spring 2009 | 2009-03-27 | 730 |  | HOBO, old | grey |  |  | minor |  | 15 min slow on old logger, fixed | cleared minor debris | full record on both |  | Aas changed
8 | Spring 2009 | 2009-03-27 | 830 |  | HOBO, old | grey | overcast |  | minor releveling |  | 15 min slow on old logger, fixed | minor debris cleared | full record on both loggers |  | changed AA batteries
10 | Spring 2009 | 2009-04-18 | 1400 |  | HOBO, old | grey | sunny, calm |  | minor |  | 15 min slow on old logger, fixed | minor debris cleared from gauge top | downloaded, full record |  | change cord from logger to RG (stopped working) on old logger, change AA batteries on old logger
302 | Fall 2009 | 2009-11-07 | 1430 |  | M1 | green | sunny, beautiful |  | yes |  | 20 min slow, fixed | spider removed |  | vegetation cleared | sign missing, not replaced
2 | Spring 2010 | 2010-05-07 |  | Daniel Martin, Doug Miller | M1, HOBO | grey |  |  | yes |  | 5 min off | cleaned | [5 empty] | yes
1 | Spring 2010 | 2010-05-01 | 930 | Anna Wilson, Aaron Woodward | M1, HOBO | grey |  | new | minor |  | adjusted 3 min | cleaned | full record for both | forest across the road seemed to have undergone controlled burn, floor only | sign in place, insecticide, replaced HOBO batteries
107 | Fall 2009 | 2009-11-08 | 830 |  | M1 | grey | sunny, calm | ok | yes and tightened on post |  | adjusted 4 min | cleaned | download, not cleared |  | sign intact
4 | Fall 2009 | 2009-11-21 | 1145 |  | M1 | green | calm and clear | added | not necessary |  | adjusted 7 min | debris cleaned, lots of pine needles | downloaded, not cleared, full record | [5 empty] | some water, did not disturb
303 | Fall 2009 | 2009-10-24 | 1300 |  | M1 | green | partly cloudy, calm | added | no |  | adjusted by 2 minutes | leaves and debris cleared | download, full record | most leaves in area had already fallen. | replaced sign |  |  |  | half full
308 | Summer 2011 | 2011-06-29 | 1400 | Anna Wilson, Kevin Olson | M1, HOBO | white |  |  | yes - tree had fallen on gauge during night |  | adjusted from 1406 to 1413 | tree damaged gauge cover, left debris, obstacle nearby gauge | downloaded | tree needs to be removed |  | ok |  | yes
307 | Fall 2009 | 2009-10-24 | 1100 |  | M1 | green | sunny, breezy | added | minor |  | adjusted to computer time, 4 min | cleared from gauge top - includes leaves, spider webs. | downloaded full record, not cleared | most leaves fallen from trees but some still remain |  |  |  |  | 1/2 full
303 | Fall 2009 | 2009-11-15 | 1130 |  | M1 | green |  |  | yes. |  | adjusted. (no detail) | leaves in top, cleared | downloaded |  | screen in funnel has loose base piece
309 | Spring 2011 | 2011-04-09 | 1145 |  | M1 | green | mostly cloudy |  |  |  | changed (no detail) | cleaned | downloaded
4 | Spring 2010 | 2010-05-12 | 1300 |  | M1, HOBO | grey | light rain |  | moderate |  | changed date from 13 may 2010 to 12 may 2010 | some |  | cleared | new battery in HOBO
1 | Fall 2007 | 2007-10-16 | 1200 |  | HOBO, old | grey |  |  |  |  | changed from 00:00:24 to 12:06:00 |  |  |  | replaced Aas
106 | Fall 2011 | 2011-09-11 | 1730 | Doug Miller | M1 | grey | partly cloudy, drizzle |  |  |  | changed from 18 Mar 2008 (happened after calib). At this visit, changed from 4 apr 2008 8:40:06 to 11 sept 2011 at 17:35:00 | cleaned | downloaded, cleared
305 | Summer 2011 | 2011-06-22 | 1030 | Anna Wilson, Kevin Olson | M1, HOBO | white |  |  | ok |  | changed from 6/21/11 22:23:13 to 6/22/11 10:28 am | cleaned from gauge top | downloaded for both | vegetation cleared | removed tarp | ok |  | yes | water in it - photo taken
301 | Summer 2011 | 2011-07-01 | 930 | Kevin Olson, Anna Wilson | M1, HOBO | white | sunny, lots of dew on gauge and surrounding vegetation |  | ok |  | changed from 9:48 to 10:01 am |  |  |  | painted | added |  |  | partially fulll, tipped during painting
1 | Spring 2009 | 2009-03-21 |  |  | HOBO, old | grey | sunny, clear, calm |  | minor |  | changed old logger time 10 min | cleaned | full record for both | ok | replaced Aas
4 | Spring 2011 | 2011-04-26 | 1000 | Doug Miller | M1, HOBO | grey | rain, overcast, windy | did not change | yes |  | changed time (was one hour too early) | some needles, unclogged |  | cleared | new battery in HOBO, software patch
109 | Winter 2009 | 2009-11-08 | 930 |  | M1 | grey |  | ok | yes - had to retighten connector from post side |  | changed time 5 minutes | minor | downloaded, full record
5 | Spring 2010 | 2010-05-07 | 830 | Daniel Martin, Doug Miller | M1, HOBO | grey | clear sky | added | minor |  | changed time from 07:27 to 08:56 | cleaned |  |  | changed HOBO battery
1 | Fall 2009 | 2009-10-10 | 1330 |  | M1, HOBO | grey | light rain | added | minor |  | changed time to EDT | cleaned | full record for both |  | insecticide, added M1 logger
4 | Spring 2008 | 2008-04-07 | 1130 |  | HOBO, old | grey |  |  | yes |  | changed to EDT |  | downloaded full record |  | replaced batteries on both
4 | Winter 2007 | 2007-12-04 | 1330 |  | HOBO, old | grey |  |  | ok |  | changed to local |  | looks good, 5 rain events since last visit |  | replaced Aas
5 | Winter 2007 | 2007-12-19 | 1215 |  | HOBO, old | grey |  |  | one stake loose, dents on cover |  | changed to local time |  | downloaded |  | replaced Aas
8 | Winter 2007 | 2007-12-19 | 1100 |  | HOBO, old | grey |  |  | stake secured | dents found on gauge top | changed to local time (EST) |  | downloaded |  | replaced Aas on old logger
4 | Spring 2009 | 2009-04-18 | 1600 |  | HOBO, old | grey | clear, sunny, calm |  | minor |  | changed year from 2008 to 2009, time was 15 min slow, fixed | cleared | HOBO had only tips from first day, old logger full record |  | replaced Aas
2 | Spring 2011 | 2011-03-25 | 1100 | Michael Goldsbury, Daniel Martin | M1, HOBO | grey |  | new | overturned, regrounded and leveled |  | date changed, (back one day?) |  | downloaded, record through early march |  | replaced HOBO battery
10 | Spring 2010 | 2010-05-12 | 915 |  | M1, HOBO | grey |  |  | significant |  | had to change date from 13 may 2010 to 12 may 2010 | minor debris |  |  | replaced HOBO battery
309 | Summer 2011 | 2011-08-01 | 1330 |  | M1, HOBO | white | mostly sunny | new | not necessary |  | logger 5 min slow, reset | minor debris cleared | downloaded for both | vegetation cleared | installed new lithium battery and capacitor | ripped from conduit arm, found a few feet from gauge, data ends 16 july 2011 | 4 trials, 3 good, 100 mm nozzle |  | 1/3 full
309 | Summer 2011 | 2011-06-22 | 1145 | Anna Wilson, Kevin Olson | M1, HOBO | white |  |  | not necessary |  | none | cleaned | downloaded for both |  | RG uncovered | ok
310 | Summer 2011 | 2011-06-22 | 830 | Anna Wilson, Kevin Olson | M1, HOBO | white |  |  | not necessary |  | none | minimal debris cleaned | downloaded for both |  | top replaced | T/RH sensor ok
4 | Fall 2007 | 2007-10-20 | 1200 |  | HOBO, old | grey |  |  | tipped over, reset |  | off by 1 hr |  | downloaded
2 | Fall 2010 | 2010-11-12 | 1100 | Melissa Talley, Daniel Martin | M1, HOBO | grey |  |  | yes and restake | scratch marks | off by a day, fixed | cleaned | downloaded |  | replaced HOBO battery, uploaded patch
3 | Spring 2010 | 2010-05-01 | 1200 | Anna Wilson, Aaron Woodward | M1, HOBO | grey | clear | new | minor |  | ok | couldn't take apart gauge top, cleaned | full record |  | insecticide, replaced HOBO battery
5 | Summer 2009 | 2009-06-23 | 900 |  | HOBO, old | grey |  |  | minor |  | ok | cleared | full record on both | cleared | batteries changed on both, sign replaced, insecticide
8 | Summer 2009 | 2009-06-23 | 1000 |  | HOBO, old | grey |  |  | knocked over, two stakes pulled up, reset |  | ok | cleared | records through 19 june 2009 on both loggers |  | batteries changed on both loggers, insecticide
8 | Spring 2010 | 2010-05-07 | 1000 | Daniel Martin, Doug Miller | M1, HOBO | grey |  |  | minor releveling, stakes added |  | ok | cleaned | download, good record |  | HOBO battery replaced
100 | Summer 2008 | 2008-07-31 | 900 |  | M1 | grey | 4/8 cumulus |  |  |  | ok |  | downloaded, cleared, full record
100 | Summer 2009 | 2009-06-24 | 1300 |  | M1 | grey | clear |  | ok |  | ok | bird droppings removed | downloaded, did not clear
100 | Summer 2009 | 2009-08-26 | 1600 |  | M1 | grey |  | added | ok |  | ok | minor debris, bird droppings, bumblebee removed | downloaded, did not clear |  | insecticide, replaced broken washer
100 | Fall 2009 | 2009-11-08 | 1200 |  | M1 | grey |  | ok | ok |  | ok | minor, spider webs, bird droppings | downloaded, full record |  | sign in place
100 | Spring 2010 | 2010-05-22 | 1000 |  | M1 | grey | sunny, rained earlier | new | minor |  | ok | lots - spiders, bird droppings, dirt, cleared | download, full record, not cleared
100 | Summer 2011 | 2011-07-22 | 845 | Doug Miller, Michael Goldsbury | M1 | grey | clear | new | ok |  | ok | cleaned, unclogged drain | downloaded, cleared |  |  |  | 3 trials
100T | Winter 2009 | 2009-01-31 | 1300 |  | M1 | grey | clear, breezy, low Cu to north |  | installed |  | ok
100T | Summer 2009 | 2009-06-24 | 1300 |  | M1 | grey | clear skies |  | ok |  | ok | lots of bird droppings cleaned out | downloaded, not cleared
100T | Summer 2009 | 2009-08-26 | 1500 |  | M1 | grey |  | added | reinstalled next to met tower at PK (installed at Maggie Valley since mid-July, no entry) |  | ok | cleaned | downloaded
100T | Fall 2009 | 2009-11-08 | 1130 |  | M1 | grey |  | ok | ok |  | ok | cleaned, ladybugs removed | downloaded full record |  | sign in place
100T | Summer 2011 | 2011-07-22 | 1030 | Michael Goldsbury, Doug Miller | M1 | grey | partly cloudy | ok | ok |  | ok | very minor cleaning | downloaded, cleared |  |  |  | 3 calibrations with 100 mm nozzle
101 | Summer 2009 | 2009-06-22 | 1600 |  | M1 | grey | cloudy, thunder heard |  | minor |  | ok | debris cleared | downloaded, not cleared | [5 empty] | some water
101 | Winter 2009 | 2009-12-09 | 1500 |  | M1 | grey | clear, very windy |  | yes, by tightening post |  | ok | minor debris cleared | downloaded, not cleared
102 | Summer 2008 | 2008-08-04 | 1300 |  | M1 | grey | 2/8 cumulus |  | yes |  | ok | dirt/dead butterfly cleaned | downloaded |  | sign gone
102 | Summer 2009 | 2009-06-22 | 1445 |  | M1 | grey | cloudy |  | yes |  | ok | dirt cleaned out, unclogged | downloaded, not cleared
102 | Winter 2009 | 2009-12-09 | 1400 |  | M1 | grey | clear, windy |  | minor |  | ok | minor debris cleared | downloaded, not cleared
#VALUE! | Summer 2008 | 2008-08-04 | 1230 |  | M1 | grey | sunny, few scattered Cu (<1/8) |  |  |  | ok | cleaned | downloaded | some growth, ok for now
103 | Summer 2009 | 2009-06-22 | 1345 |  | M1 | grey | cloudy |  | minor |  | ok | cleared | downloaded, not cleared | cleared
103 | Winter 2009 | 2009-12-09 | 1300 |  | M1 | grey | clear skies, windy |  | minor |  | ok | minor | downloaded, not cleared | vegetation cleared
102 | Summer 2008 | 2008-08-01 | 1230 |  | M1 | grey | 4/8 cumulus |  | gauge knocked over | horse - knocked over gauge | ok | gauge knocked over still on pole, cement entirely out of ground/sideways | record goes through 19 june 2008 |  | dents in gauge from being knocked over, reset the pole in 100 lbs cement |  |  | yes
104 | Summer 2009 | 2009-06-24 | 1100 |  | M1 | grey | 2/8 cloud cover |  | minor |  | ok | debris cleared | downloaded, not cleared |  | insecticide, clog below bucket fixed, sign ok
104 | Fall 2009 | 2009-11-08 | 1030 |  | M1 | grey |  | added | ok |  | ok | minor debris cleared | download, full record |  | sign ok
103 | Summer 2008 | 2008-07-31 | 1100 |  | M1 | grey | 5/8 cumulus |  |  |  | ok |  | downloaded, cleeared, full record
105 | Summer 2009 | 2009-06-24 | 930 |  | M1 | grey | sunny, warm, mostly clear |  | minor |  | ok | debris cleaned | downloaded, no clear |  | insecticide
105 | Fall 2009 | 2009-11-08 | 1300 |  | M1 | grey | sunny, calm | added | ok |  | ok | ladybugs/minor debris cleared | downloaded, full record
105 | Spring 2010 | 2010-05-22 | 1130 |  | M1 | grey | partly cloudy, calm |  | ok |  | ok | debris/dead ladybugs cleaned | downloaded, full record, not cleared
103 | Summer 2008 | 2008-08-01 | 1015 |  | M1 | grey | 6/8 cumulus |  |  |  | ok | lots of bugs cleaned from gauge top | full record downloaded
106 | Summer 2009 | 2009-06-23 | 1400 |  | M1 | grey | partly cloudy |  | ok | hornet's nest at base of gauge | ok | debris cleaned | full record downloaded, not cleared
107 | Spring 2010 | 2010-05-22 | 730 |  | M1 | grey | getting sunny, some fog, rain earlier | new | yes | cows nearly pulled gauge cover off, top misshapen | ok | cleaned out, cobwebs, cow hair | download, full record, no clear | cleared tall grass | banged out gauge top so it would fit again - still loose
107 | Summer 2011 | 2011-07-25 | 1700 | Doug Miller | M1 | grey | very rainy, some lightning, wind |  | ok | cows - gauge cover torn off | ok | cover off - restored | download, not cleared
107 | Summer 2011 | 2011-08-10 | 1515 |  | M1 | grey |  | new | yes |  | ok | funnel loose, cleaned | download |  |  |  | 4 trials, 3 good
104 | Summer 2008 | 2008-08-01 | 1140 |  | M1 | grey | 1/8 cumulus |  | ok |  | ok | none | downloaded full record
108 | Summer 2009 | 2009-06-22 | 930 |  | M1 | grey | mostly cloudy, light wind |  | minor | ants/eggs cleaned out | ok | cleaned | download, full record, not cleared
108 | Winter 2009 | 2009-12-09 | 1630 |  | M1 | grey | clear, very windy |  | ok |  | ok | minor | download, not cleared
108 | Fall 2011 | 2011-09-11 | 1510 | Doug Miller | M1 | grey |  |  | minor |  | ok | cleaned - two spiderwebs near switch |  |  |  |  | 4 trials, 3 good
109 | Spring 2010 | 2010-05-22 |  |  | M1 | grey |  |  | yes |  | ok | cleaned | downloaded, full record | [5 empty] | some rain
108 | Summer 2008 | 2008-08-04 | 1120 |  | M1 | grey | 2/8 cirrus | M1 |  |  | ok | dead bugs | downloaded
110 | Summer 2009 | 2008-06-22 | 1230 |  | M1 | grey | cloudy, calm, humid |  |  |  | ok | dead bugs | downloaded, not cleared | area cleared of vegetation | sign torn off |  |  |  | some water
110 | Winter 2009 | 2009-12-09 | 1130 |  | M1 | grey | clear, very windy, strong southerly winds blowing straight up valley toward gauge, direct exposure |  |  |  | ok | cleaned | downloaded, not cleared | area cleared of vegetation
109 | Summer 2008 | 2008-08-05 | 1000 |  | M1 | grey | hazy, 2/8 cirrus |  |  |  | ok | dead bugs, minor cleaning | downloaded
111 | Summer 2009 | 2009-06-30 | 1330 |  | M1 | grey |  | added | minor, cover knocked off | cover knocked off - cows? Holes for screws torn open | ok | cleared debris, lots of dirt | downloaded, data record stopped 18 oct 08, test tips work but not additional download. Cleared, test tips, download success. |  | Reattached gauge top and readjusted holes for screws using the hex wrench (held straight across bent section of cover) and wire clippers (pounded hex wrench in)
111 | Winter 2009 | 2009-12-13 | 930 |  | M1 | grey | rainy, windy |  |  | cows messing with cover possible | ok | cleared debris, spiderwebs | downloaded, full record, not cleared |  | washer at funnel and one of base's screws replaced |  |  |  | some water
112 | Winter 2009 | 2009-12-13 | 1100 |  | M1 | grey | overcast, light wind |  | ok |  | ok | minor | download, full record, not cleared | [5 empty] | very small amt of water in bucket
300 | Summer 2011 | 2011-06-29 | 1800 | Kevin Olson, Anna Wilson | M1, HOBO | white |  |  |  |  | ok | cleared | downloaded |  | painted | added
301 | Spring 2011 | 2011-04-23 | 1300 | Doug Miller, Daniel Martin, Michael Goldsbury | M1 | green | clear | new | ok |  | ok | cleaned gauge | downloaded full record | vegetation cleared
302 | Spring 2011 | 2011-04-23 | 1415 | Daniel Martin, Michael Goldsbury, Doug Miller | M1 | green |  |  | ok |  | ok | minor cleaning | downloaded | vegetation cleared
112 | Fall 2009 | 2009-11-21 |  |  | M1 | green | sunny, clear, calm | added | minor |  | ok | very minor | download, full record, no clear |  | sign missing (no extras)
304 | Spring 2010 | 2010-06-06 | 830 |  | M1 | green | fog, windy | new | minor |  | ok | minor debris cleared | data logger loose, fixed with tape. Full data record | clear vegetation |  |  |  |  | 3/4 full
304 | Fall 2010 | 2010-10-23 | 1220 | Wes Groetsma, Aaron Woodward | M1 | green | sunny, dry | new | ok |  | ok | leaves removed from gauge top |  | minor vegetation removal |  |  |  |  | 9/10 full
304 | Spring 2011 | 2011-05-16 | 1145 |  | M1 | green | overcast | new | minor |  | ok | needles and leaves cleaned |  | vegetation removal |  |  |  |  | 1/3 full
304 | Summer 2011 | 2011-06-27 | 1800 | Anna Wilson, Kevin Olson | M1, HOBO | white |  |  | ok |  | ok | minor debris cleared |  |  | painted | added
305 | Summer 2011 | 2011-08-01 | 1540 | Doug Miller, Thomas | M1 | white | partly cloudy | new | ok |  | ok | minor debris cleared from funnel | downloaded | lots of vegetation cleared | changed battery and capacitor | mount snapped, logger and sensor retrieved | yes, 3 good calibrations
301 | Fall 2009 | 2009-11-21 | 1500 |  | M1 | green |  | added | unable to get completely level but very close, bubble within inner circle |  | ok | cleared from gauge top | downloaded, full record, not cleared
306 | Fall 2010 | 2010-10-17 | 1315 | Ashley Felts, Doug Miller | M1 | green | clear | new |  |  | ok | leaves cleared from gauge top | downloaded full record | minimal vegetation cleared | installed software patch
306 | Summer 2011 | 2011-06-29 | 1000 | Anna Wilson, Kevin Olson | M1, HOBO | white |  |  | yes | rattlesnake nearby during maintenance visit | ok |  | downloaded |  | painted | added |  | yes | almost full, tipped and twice more during the maintenance
307 | Summer 2010 | 2010-06-05 | 1445 |  | M1 | green | partly cloudy | replaced | minor |  | ok | cleaned | downloaded full record, not cleared | cleaned nearby vegetation
307 | Summer 2011 | 2011-06-27 | 1500 | Anna Wilson, Kevin Olson | M1, HOBO | white | just stopped raining |  | not necessary |  | ok |  | downloaded |  | painted | added
307 | Spring 2011 | 2011-05-16 | 1330 |  | M1 | green | overcast | replaced | minor |  | ok, "~8 dt between logger, comp" | needles and leaves cleaned |  | vegetation removed |  |  |  |  | 3/4 full
8 | Spring 2008 | 2008-05-20 | 900 |  | HOBO, old | grey |  |  | gauge tilted, releveled |  | old logger 1 hr behind |  |  |  | tried original HOBO, still didn't work, added new one, was ok. Replaced battery.
100 | Winter 2009 | 2009-01-31 | 1100 |  | M1 | grey | clear, breezy, low Cu to north |  |  |  | set to EDT - correct | minor debris cleared | downloaded, not cleared | [5 empty] | block of ice in one side
109 | Summer 2011 | 2011-07-22 | 1500 | Michael Goldsbury, Doug Miller | M1 | grey | cloudy, rainy |  | ok |  | time 2 min slow, fixed | debris cleaned | downloaded, cleared |  |  |  | 5 trials, 3 successful (rain interfered, nozzle clogged)
104 | Spring 2010 | 2010-05-12 | 1100 |  | M1 | grey |  | new | ok |  | time changed by one hour |  | downloaded, full record
302 | Summer 2011 | 2011-06-30 | 1200 | Anna Wilson, Kevin Olson | M1 | white |  |  | ok |  | time changed from 11:53 to 12:02 | minor cleaning | downloaded |  | lots of scratches on gauge, no sign | added |  |  | little bit
111 | Summer 2011 | 2011-07-25 | 1130 | Doug Miller | M1, HOBO | grey | mostly sunny, no rain | new | ok |  | time changed from july 24, 2011 23:23:50 to july 25, 2011 11:23:50 | below one bucket stopped up, cleared this , minor other cleaning | downloaded both loggers, cleared |  | replaced gauge bolt, installed capacitor, new lithium battery |  | 3 trials with 100 mm nozzle
105 | Summer 2011 | 2011-07-22 | 1245 | Michael Goldsbury, Doug Miller | M1 | grey | cloudy, rainy | ok |  |  | time four min too slow, fixed | dead bugs cleaned | downloaded, cleared |  |  |  | yes, 3, some rain may have entered during 3rd trial
308 | Spring 2011 | 2011-04-23 | 1715 |  | M1 | green |  | added | not necessary |  | time ok | leaves in funnel, cleaned | downloaded | site cleared
5 | Spring 2008 | 2008-04-04 | 1340 |  | HOBO, old | grey |  |  | yes |  | time on logger 1 hr slow |  | downloaded |  | replaced batteries on both
309 | Fall 2010 | 2010-10-22 | 1230 | Daniel Martin, Ashley Felts | M1 | green |  |  |  |  | updated (no detail) | "extensive" debris removal | complete record downloaded, update installed
303 | Summer 2011 | 2011-08-27 | 1030 | Doug Miller, Michael Goldsbury or Chris | M1 | green | foggy | new | ok |  | way off - changed from april 6, 2008 4:08 am to August 27, 2011 at 10:49 am | dead bugs, minor cleaning | downloaded "brief" record? | minor vegetation clearing |  |  | 3 with 100 mm nozzle
4 | Winter 2008 | 2008-12-19 | 1300 |  | HOBO, old | grey | light rain |  | minor |  | year says 2007 on old logger should be 2008 | cleared leaves from top | full record on both
1 | Spring 2008 | 2008-03-05 | 1400 |  | HOBO, old | grey | [6 empty] | full record for HOBO, old logger ended 14 feb 08 |  | replaced batteries on both
1 | Summer 2008 | 2008-06-04 | 1000 | Anna Wilson, Greg Cutrell | HOBO, old | grey |  |  | minor |  |  |  | full record for HOBO |  | old logger taken with us nonfunctional, dents in gauge cover |  | yes, not recorded by HOBO
1 | Summer 2008 | 2008-06-09 |  | Anna Wilson, Greg Cutrell | HOBO, old | grey | thunder, light showers, calm wind | [5 empty] | HOBO may or may not have worked during week |  | replaced old logger, replaced batteries |  | yes, calibrated with 100mm and 300 mm nozzles, umbrella over gauge to protect from showers, calm wind
1 | Summer 2008 | 2008-06-11 | 1400 | Anna Wilson, Greg Cutrell | HOBO, old | grey | sunny, warm | [5 empty] | 1 tip recorded before calibration began |  |  |  | yes, calibrated with 200 mm and 50 mm nozzles.
1 | Fall 2008 | 2008-10-25 |  |  | HOBO, old | grey | sunny |  | minor |  |  | cleaned | full record for both | ok
1 | Fall 2010 | 2010-11-13 | 1000 | Wes Groetsma, Ashley Felts | M1, HOBO | grey | clear, sunny | new | ok |  |  | cleaned | full record | extensive clearing
1 | Spring 2011 | 2011-03-26 |  | Wes Groetsma, Chris | M1, HOBO | grey | foggy, thunder in distance | new | ok |  |  | cleaned |  | tree down near gauge, but didn't hit. No overgrowth
2 | Winter 2007 | 2007-11-13 |  |  | HOBO, old | grey |  |  | yes | [5 empty] | Aas replaced, sign torn off, wood split |  |  | before and after
2 | Spring 2008 | 2008-04-04 | 1730 |  | HOBO, old | grey |  |  | yes | [5 empty] | batteries changed on both
2 | Fall 2008 | 2008-11-26 | 1130 |  | HOBO, old | grey |  |  | minor |  |  | cleaned out | full record on both |  | screen in funnel misshapen, batteries changed in both loggers, fixed screen as best as possible |  |  | yes
2 | Summer 2009 | 2009-06-23 | 1200 |  | HOBO, old | grey |  |  | ok |  |  | cleaned | full record on both | vegetation cleared | batteries changed on both, insecticide
2 | Fall 2009 | 2009-10-02 |  |  | M1, HOBO | grey |  |  | ok |  |  | some | full record on both |  | added new M1 logger, battery changed on HOBO
2 | Summer 2011 | 2011-07-27 |  | Michael Goldsbury, Thomas | M1, HOBO | grey |  | new | overturned, regrounded and leveled |  |  |  | record through 11 july 11 |  | added "makeshift wire fence" to try and keep bears away |  | yes
3 | Fall 2007 | 2007-10-16 | 1100 |  | HOBO, old | grey |  |  | yes | damage to exterior |  |  |  |  | replaced Aas
3 | Spring 2008 | 2008-03-05 | 1200 |  | HOBO, old | grey | [6 empty] | download looks good |  | replaced batteries on both
3 | Fall 2008 | 2008-10-25 |  |  | HOBO, old | grey | foggy, wet, turning sunny |  | yes |  |  | some | full record on both |  | replaced batteries on both
3 | Spring 2009 | 2009-03-21 |  |  | HOBO, old | grey | sunny |  | minor |  |  | ok | full record on both |  | replaced Aas
3 | Fall 2010 | 2010-11-13 |  | Wes Groetsma, Ashley Felts | M1, HOBO | grey |  | new | yes |  |  | cleaned | downloaded
3 | Spring 2011 | 2011-03-26 |  | Wes Groetsma, Chris | M1, HOBO | grey | drizzly, cloudy |  | yes |  |  | cleaned |  |  | changed battery in HOBO
4 | Summer 2008 | 2008-07-15 | 1000 |  | HOBO, old | grey |  |  | ok |  |  |  | full record on both | cleared, lots of plants around gauge | Aas changed |  |  | yes
4 | Summer 2009 | 2009-07-18 | 1400 |  | HOBO, old | grey |  | yes | minor |  |  | cleared, unclogged | download, full record on HOBO, till 15 jun 09 on old | cleared brush | new sign, batteries changed on old logger, lots of rust on the flat piece connecting wire to the long screws, insecticide
4 | Fall 2009 | 2009-10-03 | 1145 |  | M1, HOBO | grey |  |  | ok |  |  | minor | download |  | chnaged stake, new battery in HOBO, M1 logger added
4 | Fall 2010 | 2010-11-19 | 1330 | Doug Miller, Daniel Martin | M1, HOBO | grey | clear | new | ok |  |  | some |  | cleared | new battery in HOBO, software patch
4 | Summer 2011 | 2011-07-23 |  | Daniel Martin, Michael Goldsbury | M1, HOBO | grey | sunny | [5 empty] | downloaded, cleared | cleared "extreme" overgrowth over gauge and funnel |  |  | 2 calibrations
5 | Spring 2008 | 2008-05-20 | 1030 |  | HOBO, old | grey |  |  | knocked over, one stake pulled out. Reset. Must have happened within past couple of weeks. Dents. |  |  |  | not retrieved on this visit
5 | Summer 2008 | 2008-07-14 | 1000 |  | HOBO, old | grey |  |  | knocked over, one stake pulled out, reset. | bear hair on base |  |  | record until 16 june 08 |  | batteries changed
5 | Fall 2008 | 2008-11-26 | 1000 |  | HOBO, old | grey |  |  | minor |  |  | cleared | full record on both |  | batteries changed on both
5 | Fall 2009 | 2009-10-02 | 830 |  | M1, HOBO | grey |  |  | minor |  |  | leaves in top, removed |  |  | add M1 logger, HOBO battery changed
5 | Summer 2011 | 2011-07-27 |  | Michael Goldsbury, Thomas | M1, HOBO | grey | [6 empty] | downloaded, cleared, HOBO unplugged? | cleared brush and trees |  |  | yes
8 | Spring 2008 | 2008-04-04 | 1530 |  | HOBO, old | grey |  |  | gauge tilted, releveled | [5 empty] | HOBO inop, taken to UNCA, Aas changed on old logger
8 | Fall 2008 | 2008-11-16 | 900 |  | HOBO, old | grey |  |  | gauge knocked over, all stakes up, reinstalled |  |  |  | records through 28 august 08 on both loggers |  | batteries changed on both loggers, ice on old logger
8 | Fall 2009 | 2009-10-02 | 945 |  | M1, HOBO | grey |  |  | knocked over, installed in nearby location | animal "chew" marks evident |  |  |  |  | replaced old logger with M1.
8 | Spring 2011 | 2011-03-25 | 930 | Daniel Martin, Michael Goldsbury | M1, HOBO | grey |  | new | yes | pea-sized hole in gauge covering along with animal bite and claw marks |  | cleaned |  |  | HOBO battery replaced
8 | Summer 2011 | 2011-07-27 | 1100 | Michael Goldsbury, Thomas | M1, HOBO | grey | [5 empty] | leaves in funnel, cleaned | downloaded | removed some growth |  |  | yes
10 | Summer 2008 | 2008-07-16 | 1200 |  | HOBO, old | grey |  |  | tipped over, resecured and leveled |  |  |  | downloaded, record through 14 May 2008 | cleared | change AA batteries on old logger |  |  | yes
10 | Fall 2008 | 2008-11-22 | 1030 |  | HOBO, old | grey |  |  | yes |  |  | leaves and debris cleared | downloaded, full record |  | changed batteries on both loggers, replaced sign
10 | Summer 2009 | 2009-07-18 | 930 |  | HOBO, old | grey |  | added | tipped over, resecured and leveled | ants cleaned out |  | cleared debris | downloaded, data through 17 May 2009 | cleared | insecticide, changed batteries on both loggers
10 | Fall 2009 | 2009-10-03 | 930 |  | M1, HOBO | grey | sunny, rising fog |  | yes |  |  | leaves covering top |  |  | added new M1 logger, new battery in HOBO
10 | Fall 2010 | 2010-11-19 | 1130 | Daniel Martin, Doug Miller | M1, HOBO | grey | clear | ok | significant | [5 empty] | replaced HOBO battery, software patch for M1
10 | Spring 2010 | 2011-04-02 |  | Daniel Martin, Michael Goldsbury |  | grey
10 | Summer 2011 | 2011-07-23 |  | Daniel Martin, Michael Goldsbury | M1, HOBO | grey | sunny -> overcast |  | tipped at 45 degree angle, reset, releveled |  |  |  | downloaded, cleared | cleared significant growth |  |  | 2 calibrations
100 | Fall 2008 | 2008-11-26 | 1400 |  | M1 | grey | clear |  |  |  |  | minor debris cleared | downloaded, not cleared
100 | Summer 2009 | 2009-06-01 | 1400 |  | M1 | grey | partly cloudy |  |  |  |  | minor debris cleared | downloaded, cleared |  | washer broken
100 | Fall 2010 | 2010-10-30 | 1430 | Aaron Woodward, Daniel Martin, Michael Goldsbury | M1 | grey | [5 empty] | cleaned | downloaded |  | installed software patch
100 | Spring 2011 | 2011-04-16 |  | Michael Goldsbury, Ashley Felts | M1 | grey | sunny, clear, very windy |  |  |  |  | cleaned, unclogged drain | downloaded
100T | Spring 2009 | 2009-05-15 |  |  | M1 | grey |  |  | removed for recalibration
100T | Summer 2009 | 2009-06-01 | 1400 |  | M1 | grey | partly cloudy |  | reinstalled - with cover to reduce debris collection
100T | Spring 2010 | 2010-05-22 | 1000 |  | M1 | grey | sunny, rain earlier in day | ok | ok |  |  | spiderwebs/debris cleared | downloaded, full record, not cleared | [5 empty] | some water
100T | Spring 2011 | 2011-04-16 |  | Michael Goldsbury, Ashley Felts | M1 | grey | sunny, clear, very windy |  |  |  |  | cleaned, unclogged drain | downloaded
101 | Summer 2008 | 2008-08-04 | 925 |  | M1 | grey | 3/8 cirrus |  | yes |  |  | bugs/debris cleared | downloaded
101 | Spring 2009 | 2009-04-01 | 1200 |  | M1 | grey | fog, rain in morning, ended by 0940 |  | yes |  |  | minor debris/small pine cone seeds cleared | downloaded
101 | Spring 2010 | 2010-05-19 | 1315 |  | M1 | grey | cloudy | added | ok |  |  | bird droppings cleaned | downloaded
101 | Fall 2010 | 2010-10-03 | 1615 | Melissa Talley, Daniel Martin | M1 | grey | clear |  | yes |  |  | cleared debris | downloaded
101 | Spring 2011 | 2011-04-30 |  | Daniel Martin, Ashley Felts | M1 | grey
101 | Summer 2011 | 2011-07-31 |  | Melissa Talley, Daniel Martin | M1 | grey | dark?? | new | yes |  |  | cleaned | downloaded
101 | Summer 2011 | 2011-08-25 |  |  | M1 | grey | [10 empty] | yes
102 | Fall 2010 | 2010-10-31 | 1500 | Melissa Talley, Daniel Martin | M1 | grey | clear, windy |  | yes |  |  | spider webs/debris cleaned | downloaded |  | gauge is loose where logger is
102 | Spring 2011 | 2011-04-30 | 1030 | Daniel Martin, Ashley Felts | M1 | grey | clear |  | yes |  |  | cleaned | downloaded |  | "loose"
102 | Summer 2011 | 2011-07-31 |  | Melissa Talley, Daniel Martin | M1 | grey |  |  |  | saw a bear |  | cleaned |  |  | upgraded hardware |  | 3 successful
103 | Fall 2010 | 2010-10-31 | 1430 | Melissa Talley, Daniel Martin | M1 | grey | clear skies |  | minor |  |  | cleaned | downloaded | cleared
103 | Spring 2011 | 2011-04-30 | 1215 | Daniel Martin, Ashley Felts | M1 | grey | [5 empty] | cleared bugs | downloaded | cleared
103 | Summer 2011 | 2011-07-30 | 1630 | Melissa Talley, Daniel Martin | M1 | grey | [5 empty] | cleaned | downloaded |  | installed new battery |  | calibrated 3 times
104 | Summer 2008 | 2008-08-06 | 1130 |  | M1 | grey |  |  | gauge knocked over again | horse - knocked over gauge |  | gauge top torn off base, tilted, dented |  |  | gauge top torn off (although whole thing wasn't knocked over this time)
104 | Summer 2008 | 2008-08-21 | 1000 |  | M1 | grey | partly cloudy, low chance of rain |  | gauge reinstalled |  |  |  | reinstalled |  | replaced gauge top, reinstalled in new location
104 | Fall 2010 | 2010-11-06 | 1200 | Melissa Talley, Daniel Martin, Aaron Woodward | M1 | grey | 3" snow on ground | [5 empty] | download |  | patch upgrade |  |  |  | ice in bucket
104 | Spring 2011 | 2011-04-02 |  | Michael Goldsbury, Daniel Martin | M1 | grey | very windy |  |  |  |  | cleaned | download
104 | Summer 2011 | 2011-07-23 |  | Michael Goldsbury, Daniel Martin | M1 | grey | sunny | [5 empty] | downloaded, cleared | cleared minor growth |  |  | 2 calibrations
105 | Fall 2010 | 2010-10-30 | 1230 | Aaron Woodward, Daniel Martin, Michael Goldsbury | M1 | grey | [5 empty] | debris/dead ladybugs cleaned | downloaded full record | heavy brush removal
105 | Spring 2011 | 2011-04-16 | 1230 | Michael Goldsbury, Ashley Felts | M1 | grey | clear, sunny, windy | new |  |  |  | cleaned | downloaded |  | unclogged drain
106 | Fall 2009 | 2009-10-02 | 1345 |  | M1 | grey |  | added | ok | removed wasp nest |  | insect debris removed | downloaded
106 | Spring 2010 | 2010-05-07 | 1330 | Daniel Martin | M1 | grey |  | new | ok |  |  | gauge cleaned | downloaded, not cleared |  |  |  |  | yes
106 | Fall 2010 | 2010-11-12 | 1300 | Melissa Talley, Daniel Martin | M1 | grey |  | new | ok |  |  | cleaned spiders, bugs from gauge top and bucket | downloaded | cleared | installed patch update
106 | Spring 2011 | 2011-03-25 |  | Daniel Martin, Michael Goldsbury | M1 | grey |  | new |  |  |  | cleaned | downloaded
106 | Summer 2011 | 2011-08-25 |  |  | M1 | grey | [10 empty] | yes
105 | Summer 2008 | 2008-08-05 | 1245 |  | M1 | grey | 4/8 cirrus small Cu |  | yes, post loose in ground, recemented |  |  | cleaned out some insects | downloaded full record
107 | Summer 2009 | 2009-06-30 | 830 |  | M1 | grey |  | added | yes and tightened on post |  |  | cleaned out cobwebs, dirt, bird droppings | download, not cleared |  | insecticide, new sign, clog in drain fixed
107 | Summer 2010 | 2010-06-12 | 1030 |  | M1 | grey | overcast, low level fog |  | yes |  |  | cleaned | download, full record |  | added rubberized washers to gauge top to make it more secure |  |  |  | almost full, tipped during visit
107 | Fall 2010 | 2010-10-30 | 1100 | Aaron Woodward, Daniel Martin, Michael Goldsbury | M1 | grey |  |  | yes |  |  | cleaned | download |  | updated logger firmware
107 | Spring 2011 | 2011-04-16 | 1100 | Michael Goldsbury, Ashley Felts | M1 | grey | clear, very windy |  |  |  |  | cleaned | data downloaded
108 | Spring 2010 | 2010-05-19 | 1430 |  | M1 | grey |  | added | yes | ladybugs cleared out |  | spider on lid |  |  | side clogged, fixed
108 | Fall 2010 | 2010-10-31 | 1200 | Melissa Talley, Daniel Martin | M1 | grey | clear |  | yes |  |  | cleaned spiders and bugs | download
108 | Spring 2011 | 2011-04-30 | 915 | Daniel Martin, Ashley Felts | M1 | grey | clear |  | yes |  |  | cleaned | download
108 | Summer 2011 | 2011-07-30 |  | Daniel Martin, Melissa Talley | M1 | grey | rainy |  |  |  |  | cleaned |  |  | top filled with water on arrival. Replaced battery. |  | attempted, unsuccessful
108 | Summer 2011 | 2011-08-25 | 1400 | Aaron Woodward, Thomas | M1 | grey | [6 empty] | downloaded full record, cleared |  |  |  | attempted, unsuccessful
108 | Summer 2008 | 2008-08-01 | 1100 |  | M1 | grey | 5/8 cumulus |  | ok |  |  | minor | downloaded full record
109 | Summer 2009 | 2009-06-30 | 1000 |  | M1 | grey |  | added | minor |  |  | minor | downloaded, did not clear |  | insecticide on post
109 | Fall 2010 | 2010-10-30 | 930 | Aaron Woodward, Daniel Martin, Michael Goldsbury | M1 | grey | [5 empty] | cleaned | download |  | software patch
109 | Spring 2011 | 2011-04-16 | 930 | Michael Goldsbury, Ashley Felts | M1 | grey | windy, cloudy |  | yes |  |  | cleaned | download
110 | Fall 2010 | 2010-10-31 | 1015 | Melissa Talley, Daniel Martin | M1 | grey | clear skies | new |  | funnel off - animal or person? |  | bugs cleared | downloaded | many fallen leaves, area cleared | top torn off
110 | Spring 2011 | 2011-04-30 | 1330 | Ashley Felts, Daniel Martin | M1 | grey | [5 empty] | cleaned | downloaded
110 | Summer 2011 | 2011-07-30 |  | Melissa Talley, Daniel Martin | M1 | grey | sunny | [5 empty] | downloaded |  |  |  | 3 calibrations
111 | Summer 2009 | 2009-07-18 | 1600 |  | M1 | grey |  |  | ok |  |  | cleared debris, bird droppings | download, full record |  | put small washer on with cushions - this seemed effective at stopping gauge top movement when pushed from the side
111 | Spring 2010 | 2010-05-15 | 900 |  | M1 | grey |  |  | ok |  |  | minimal debris cleaned, cobwebs | download, record stopped 1 jan 2010, batteries seem in good shape and so does tipping bucket | [5 empty] | cobwebs and water
111 | Spring 2010 | 2010-05-22 | 1340 |  | M1, HOBO | grey |  |  | ok |  |  | clear | attempted download again. Again logger began working once the logger was cleared.
111 | Spring 2010 | 2010-05-28 | 1300 |  | M1, HOBO | grey | thunderstorms, light rain | [5 empty] | full record downloaded using DUR/+
111 | Fall 2010 | 2010-11-07 | 1230 | Ashley Felts, Melissa Talley | M1, HOBO | grey | 4" of snow on ground, clear | new |  |  |  | 3 spiderwebs cleared out | downloaded |  | patch upgrade
110 | Summer 2009 | 2009-06-30 | 1130 |  | M1 | grey |  | added | minor |  |  | cobwebs, brown spots cleaned from gauge interior | download, not cleared
112 | Spring 2010 | 2010-05-15 | 1035 |  | M1 | grey |  | new | ok |  |  | minor | download | [5 empty] | minimal water in bucket
112 | Fall 2010 | 2010-11-07 | 1445 | Ashley Felts, Melissa Talley | M1 | grey | 3 in of snow on ground, clear | new |  |  |  | cleaned | download |  | patch upgrade
112 | Summer 2011 | 2011-07-25 | 1400 | Doug Miller | M1 | grey | partly cloudy | new | ok |  |  | minor debris | downloaded, cleared |  | added capacitor, replaced battery |  | calibrated
112 |  |  |  |  | M1
300 | Fall 2009 | 2009-11-07 | 1600 |  | M1 | green |  |  | ok | bear bite marks on top edge of gauge |  | very dirty funnel cleaned |  | thorn bush over gauge, cleared | no sign
300 | Fall 2010 | 2010-10-16 | 1645 | Wes Groetsma, Daniel Martin | M1 | green |  |  | yes |  |  | cleaned out leaf accum/spiders | downloaded |  | installed software patch
300 | Spring 2011 | 2011-04-23 | 1600 | Daniel Martin, Michael Goldsbury, Doug Miller | M1 | green | clear skies | new |  |  |  | cleaned | downloaded
300 | Summer 2011 | 2011-09-17 | 1340 | Ashley Felts, Daniel Martin | M1 | white |  |  |  | bear got T/RH sensor |  | cleared | downloaded, cleared |  | replaced battery, capacitor | gone | 3 successful calibrations
301 | Summer 2011 | 2011-08-17 | 1830 |  | M1, HOBO | white | [5 empty] | cleaned gauge | downloaded |  | changed out logger hardware |  | yes
302 | Summer 2011 | 2011-08-18 | 1900 |  | M1 | white | drizzly | new |  |  |  | cleaning | downloaded |  |  |  | done successfully
303 | Spring 2010 | 2010-05-26 |  |  | M1 | green | mostly cloudy | new | no |  |  | minor (small dead bugs) | full record downloaded | clear some vegetation
303 | Fall 2010 | 2010-10-17 | 1430 | Ashley Felts, Doug Miller | M1 | green |  | new | no |  |  | bugs, small debris | full record downloaded | cleared | installed software patch
303 | Spring 2011 | 2011-05-01 | 1430 | Michael Goldsbury | M1 | green | partly cloudy | new | minor |  |  |  | downloaded
304 | Summer 2011 | 2011-08-03 | 1430 | Wes Groetsma, Chris | M1, HOBO | white | sunny, warm, clouds moving in |  |  | bear broke radiation shield mount |  | dirt cleared |  | gauge free of brush |  | mount snapped, repaired | yes |  | almost full
302 | Fall 2009 | 2009-11-15 | 1245 |  | M1 | green | clear, 65F |  |  |  |  | leaves cleared from gauge top | downloaded | thorn vines surrounding site, cleared
305 | Spring 2010 | 2010-05-21 | 1145 |  | M1 | green |  |  | no |  |  | cleaned | record ends 25 Dec 2009 | cleared plants
305 | Spring 2010 | 2010-05-24 | 1330 |  | M1 | green | cloudy skies, light rain | added |  |  |  |  | record ends 25 Dec 2009
305 | Spring 2010 | 2010-05-28 |  |  | M1 | green | [6 empty] | downloaded full data record using DUR/+
305 | Fall 2010 | 2010-10-22 | 1400 | Ashley Felts, Daniel Martin | M1 | green | clear | new | no |  |  | cleaned lots of debris | downloaded complete record |  | installed update
305 | Spring 2011 | 2011-04-09 |  | Daniel Martin, Michael Goldsbury | M1 | green | [5 empty] | cleaned | download
305 | Summer 2011 | 2011-06-21 | 1200 | Anna Wilson, Kevin Olson | M1, HOBO | white | [8 empty] | painted, tarp over gauge | added
306 | Spring 2010 | 2010-05-26 | 1145 |  | M1 | green | overcast | new | no |  |  | cleaned | incomplete, ends 8 apr 2010
306 | Spring 2011 | 2011-05-01 |  |  | M1 | green |  | new |  |  |  | leaves/debris cleared from gauge top | downloaded
306 | Summer 2011 | 2011-08-27 | 1315 | Doug Miller, Michael Goldsbury or Chris | M1, HOBO | white |  | new | yes-knocked over | bear knocked RG over, broke T/RH sensor |  |  | downloaded, T/RH sensor stopped reporting on 7 Jul 2011 |  | needs to be recemented, replaced capacitor and battery | broken, removed | 3 with 100mm nozzle
306 | Fall 2011 | 2011-09-17 | 1300 | Chris Z, Robert D, Doug Miller | M1 | white |  |  | reinstalled post and gauge cover |  |  | minor cleaning |  | vegetation cleared around new post location | 3 plot holes tried before success, reinstalled the third spring underneath tipping bucket platform (had to be removed before to get the gauge level because of a bad install) |  |  | yes
307 | Summer 2011 | 2011-06-28 |  | Anna Wilson, Kevin Olson | M1, HOBO | white |  |  |  | bear chewed through sensor cable about 0230 night before |  |  |  |  | took T/RH sensor back to lab | broken, bear |  | yes
307 | Summer 2011 | 2011-08-03 | 1804 | Wes Groetsma, Chris | M1 | white | partly cloudy |  |  |  |  | debris cleared |  | some growth removed | installed data logger capacitor, changed battery |  | yes
308 | Spring 2010 | 2010-05-29 | 1700 |  | M1 | green | partly cloudy |  |  |  |  | gauge cleaned | full data record downloaded | site cleared
308 | Fall 2010 | 2010-10-16 | 1815 | Wes Groetsma, Daniel Martin | M1 | green |  |  | yes |  |  | gauge cleaned | data downloaded | site cleared | software updated
308 | Summer 2011 | 2011-06-28 | 1900 | Anna Wilson, Kevin Olson | M1, HOBO | white |  |  | not necessary |  |  | cleaned from gauge top | downloaded |  | painted | added
308 | Summer 2011 | 2011-08-10 | 1100 | Doug Miller, Greg Cutrell | M1, HOBO | white | clear skies |  | new post install |  |  |  | gauge removed for cover repair |  |  | ok
308 | Fall 2011 | 2011-09-17 | 1100 | Chris Z, Robert D, Doug Miller | M1, HOBO | white |  |  | yes |  |  |  | 10 test tips mark exact time of install |  | gauge reinstalled on new post | ok |  | yes
309 | Spring 2010 | 2010-05-21 | 1245 |  | M1 | green | cloudy, wet | no | yes. |  |  | cleaned | complete record downloaded | clear plants
309 | Summer 2011 | 2011-06-21 | 1500 | Anna Wilson, Kevin Olson | M1, HOBO | white | [8 empty] | RG covered with tarp | added |  | yes | water in it - photo taken
309 | Fall 2009 | 2009-11-15 | 1345 |  | M1 | green | Clear, ~65F |  |  |  |  | Cleaned, no major debris noted | downloaded
310 | Spring 2010 | 2010-05-21 | 1400 |  | M1 | green | wet conditions | No | not necessary |  |  | Cleaned, no major debris noted | record ends 20 Nov 09
310 | Spring 2010 | 2010-05-24 | 1440 |  | M1 | green | cloudy skies, light rain | [5 empty] | record ends 20 Nov 09, logger cleared
310 | Spring 2010 | 2010-05-28 | 900 |  | M1 | green | [6 empty] | full data record downloaded using DUR/+ command
310 | Fall 2010 | 2010-10-24 | 1615 | Daniel Martin, Ashley Felts | M1 | green | cloudy and breezy |  |  |  |  | no cleaning required | installed patch, full record downloaded | not required
310 | Spring 2011 | 2011-04-09 | 1315 | Daniel Martin, Michael Goldsbury | M1 | green | mostly cloudy |  |  |  |  | Cleaned, no major debris noted | downloaded
310 | Summer 2011 | 2011-06-21 | 900 | Anna Wilson, Kevin Olson | M1, HOBO | white | [8 empty] | tipping bucket covered with tarp. | T/RH sensor added
310 | Summer 2011 | 2011-08-01 | 1030 | Doug Miller, Thomas | M1, HOBO | white | partly cloudy |  |  |  |  | gauge was clean | downloaded for both |  |  | moved cable to inside conduit | 3 trials, 100 mm nozzle
311 | Spring 2010 | 2010-05-26 | 1545 |  | M1 | green |  | new | minor | rattlesnake seen |  | cleaned | downloaded full record | cleared vegetation
311 | Summer 2011 | 2011-08-08 |  | Chris, Michael Goldsbury | M1 | green | mostly clear |  |  |  |  | lots of leaves in funnel, cleaned | downloaded, cleared | fairly substantial tree growth around gauge, cut down one | changed battery, installed new capacitor |  | yes